Building Damage or Structural Instability Procedure

Structural damage can result from impact, severe weather, water ingress, or material failure. These events create safety risks such as falling debris, collapse, or compromised load bearing supports.

| Role / Parties | Actions and Response Procedures |
| --- | --- |
| Person(s) discovering the Damage | - Immediately call 6304 3333 (or ext. 3333) to report the damage. - Move away from the affected area and warn others. - Do not attempt to re-enter the damaged zone. |
| Staff, Students and Visitors | - Evacuate the area if instructed. - Keep clear of damaged structures. - Follow ECO and STS directions. |