Gas Leak Procedure

A gas leak creates an immediate hazard due to the risk of ignition, asphyxiation, or chemical exposure. Gas leaks may originate from laboratories, kitchens, plant rooms, or external gas lines.

| Role / Parties | Actions and Response Procedures |
| --- | --- |
| Person(s) discovering the Leak | - Immediately call 6304 3333 (or ext. 3333) to report the leak. - Warn nearby occupants and move away from the area and odour into clear air. - Do not operate electrical switches, equipment, or mobile phones in the immediate vicinity. - Evacuate if the odour is strong or symptoms appear. |
| Staff, Students and Visitors | - Cease use of gas-powered equipment. Turn off if possible and safe to do so. - Evacuate the affected area calmly. - Follow instructions from STS or Wardens. |