Building Fires Procedure

This procedure applies when a fire has been confirmed in an ECU building or when the evacuation alarm (“WHOOP WHOOP” and recorded message) has been activated.

➡️   IF IN DOUBT – EVACUATE!

| Role / Parties | Actions and Response Procedures |
| --- | --- |
| Person(s) discovering the fire | - If a major fire is evident, call 000 immediately. - Apply the RACE fire response mnemonic where relevant and safe to do so: - (R) REMOVE: Remove persons from immediate danger if safe to do so. Assist people with disabilities to a safe refuge point (e.g., stairwell landing) and notify a Warden. - (A) ALERT: Alert others by activating a manual call point, and calling STS on 6304 3333 to advise location, severity, and any persons at risk. - (C) CONTAIN: Contain the fire or smoke by closing doors behind you. - (E) EXTINGUISH / EVACUATE: Extinguish the fire only if trained, confident, and it is safe (using the correct extinguisher type). - Evacuate using nearest safe exit; do not use lifts. Proceed to assembly area and await instructions. |
| Staff, Students and Visitors | - Stop all activity and follow Warden/STS instructions. - Evacuate immediately via nearest marked exit; do not use lifts. - Assist others where safe. Notify wardens of any person with disabilities. - Proceed directly to assembly area. - Remain at assembly area until STS or DFES provides the “all-clear”. |
| Security Control Room | - If full evacuation is underway, transfer monitoring responsibilities to alternate control room when required. - Use AMPAC to identify activated detectors - Use CCTV to monitor evacuation progress. - Maintain an incident and communication log documenting times, notifications, actions and changes. - Notify emergency services (000) if not already contacted. - Provide information to On-Scene Commander as required. |
| Area Wardens | - Use fire extinguisher if trained and appropriate to do so. - Ensure orderly flow of persons to emergency exits - Search the area to ensure all persons have evacuated - Assist persons with disabilities to a safer location such as a stairwell - Place Building Evacuated signage at entry points - Advise Building/Floor Warden or STS of any person refusing to leave - Lead occupants to Assembly Areas - Wait for ‘All-Clear’ from STS before allowing people to re-enter. |
| Building / Floor Wardens | - Attend the Fire Indicator Panel (FIP) – Joondalup and SW only - Use the Evacuation checklist and tick off areas cleared by Area Wardens - Dispatch Area Wardens to clear spaces - Make note of persons who unable/refused to evacuate - Communicate to STS area has been evacuated (via phone call or WIP) |
| Security Officers (On scene) | - Attend FIP to confirm type and location of activated detectors (Joondalup and South West campuses only). - Assume Chief Warden or Warden roles if after hours. - Direct and support evacuation efforts. - Deny re-entry until DFES completes assessment and STS authorises reopening. - Guide emergency services to the scene and provide situational updates. |
| On-Scene Commander (STS Representative) | - Coordinate DFES access and response handover. - Direct ECO to ensure full building evacuation and confirm status at assembly area. - Report escalation requirements to VP/CIMT if broader impacts exist. - Authorise re-entry only after DFES and Campus Environments confirm it is safe. |