Hazardous Substances Spill or Release Procedure

Hazardous material incidents require immediate action to isolate the hazard, protect occupants, and prevent environmental or facility contamination. The nature of the spill will determine the degree of response.

Security Officers receive specialised training from Schools regarding certain chemicals stored on Campus. Security Officers are expected to adhere strictly to this training and must prioritise their personal safety before undertaking any action.

Any specific operating procedures or guidelines controlled by the RBHSC should be followed stringently. These include:

- Hydrofluroic Acid SOP’s

- Radiation Management Plan

- Biosafety Management Plan

- Spill Management & Response Guidelines

| Role / Parties | Actions and Response Procedures |
| --- | --- |
| Person(s) discovering the Spill or Release | - Immediately call 6304 3333 (or ext. 3333) to report the spill or release. - Avoid contact with the substance. - Evacuate the immediate area and warn others nearby. - Provide details, type and quantity of substance (if known), location, odour, visible vapours, potential risks. - Do not attempt cleanup unless properly trained and authorised. |
| Staff, Students and Visitors | - Move away from the affected area. - Assist with isolation by closing doors if instructed and safe. - Follow directions from Wardens and STS. |