Biological Spill or Exposure Incident Procedure

Biological incidents include spills, aerosol releases, or accidental exposures to microorganisms, biological specimens, sharps injuries, or contaminated materials.

These events may occur in laboratories, clinical teaching spaces, or research facilities. Immediate containment, exposure management, and notification are essential.

| Role / Parties | Actions and Response Procedures |
| --- | --- |
| Person(s) discovering the Damage | - Stop work and prevent further aerosol generation. - Call STS on 6304 3333 (or ext. 3333) and report the incident type and location. - If trained, access PPE, cover spill with absorbent material and await specialist clean-up. - Remove contaminated PPE and wash exposed skin immediately. - Report any exposure to supervisor and seek medical assessment. |
| Staff, Students and Visitors | - Move away from the affected area and avoid contact. - Support responders by preventing others entering the spill zone. - Follow all instructions from STS or laboratory staff. |