Explosion Procedure

Explosions may result from chemical reactions, gas ignition, pressurised vessel failure, or mechanical equipment malfunction. Explosions pose immediate risks of fire, smoke, flying debris, and building damage.

| Role / Parties | Actions and Response Procedures |
| --- | --- |
| Person(s) discovering the Explosion of its effects | - Move to a safe distance and warn others. - Immediately call 6304 3333 (or ext. 3333) to report the damage and effects. - Report any smoke, fire, injured persons, or structural damage. - Do not re-enter the area. |
| Staff, Students and Visitors | - Evacuate if instructed and stay clear of blast-affected areas. - Assist injured persons only if safe. - Follow directions from ECO and STS. |